User’s Manual Of SNMP

I. Installation

  - Release the compact file

    - Copy the software.

    - Release it to：C:\Program Files

  - Registration

    - Open C:\Program Files\Manager3 file.

    - Click， choose “Begin”.

  - Set Up

    - Open C:\Program Files\ Manager, Create shortcuts of and

.

    - Click to set up；Click to change the IP.

II. Operation

1. IP detector

- Set Up，Click“Begin”to select the detailed information of the machine including No of equipments connected、IP、Model Number、MAC address.

- Click“Edit IP”to change the IP information including IP Address、Mask、Gateway.

  - Set Up SNMP

i. Click ，User name：“admin”, no code.

ⅱ.Enter the SNMP.

  - Add New Equipments（Set up ：IP Responder）

  - Delete Equipments（Click right，Choose“Delete”）

See the working condition of equipments.

Please click twice of the equipments list on the left to see the parameters and working condition.

  - Warming Information

“New Warm”：

“Warm History”

  - Change the warming Threshold

Eg：Change the normal warm threshold and serious warm threshold of “Output optical power”，firstly please click the “output optical power” twice, then you can see as follows:

Then change the value directly

Complete the modification, then press "ok" to execute.

The same operation with other parameters such as BIAS CURRENT

  - Other Functions

ⅰ. Real Time Curve：

ⅱ. Table Head View

ⅲ. Transponder Property

ⅳ. Setting voice alarm and plnterval time

Tool―setting

“Warm”

“plnterval”